Compliance Schedule Statement

Section 105, Building Act 2004

### Form 10 – Building (Forms) Regulations 2004

### Compliance Schedule No: WOF/2020/5827

Date Issued: 02 August 2021		Expiry Date: 1 August 2022

The building

| Street address of building: 80 Byron Street Sydenham Building name: Clip N' Climb Factory Level/Unit number: Single Location of building within site/block number: Year building first constructed: Unknown Currently, lawfully established, use (in detail): Commercial: Factory, Office, Store Areas (3m Max. Signage Required) Conditions of use: No Storage above 3.0m in warehouse/workshop - signage required |  | Occupant numbers: 16 Use(s) (as per Schedule 2, Building Regulations 2005): Working Low 2 Working Medium Highest fire hazard category: FHC3 Life of building stated in years: (if less than 50 years) Legal description: Lot 1 DP 449853 |
| --- | --- | --- |

The owner

| Name of owner: Spaghetti Junction Limited Contact person: (if owner not an individual) Mailing address: 210 HUNTSBURY AVENUE, HUNTSBURY, CHRISTCHURCH, 8022 Street address/registered office: |  | Phone number: Mobile: Email: jt@clipnclimb.com Website: |
| --- | --- | --- |

Specified systems

The following specified systems are covered by the compliance schedule for this building: (list appropriate system(s))

- SS4: Emergency lighting system

- SS7: Automatic backflow preventers

- SS15/2: Final exit doors

- SS15/4: Signs communicating evacuation information

The Compliance Schedule is kept at: 80 Byron Street

Signature:

Position:     Building Officer – Warrant of Fitness

On behalf of:  Christchurch City Council

Date: 02 August 2021

This statement is valid until 1 August 2022.